| Hazard ID | Hazard | Control | Action Required | Risk Level | Completion Due Date | Quarterly Review Date | Annual Review Date | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Emergency exit signs do not have emergency lighting | Elimination | Install emergency exit lighting | Moderate | 24/04/2014 | 18/07/2014 | 17/04/2015 |  |
| 2 | 20 Ltr drums of cleaning liquid used | Substitution & Administration | Decant into 1 or 2 ltr containers and label | High | 24/04/2014 | 18/07/2014 | 17/04/2015 |  |
| 3 | Isolation switches to electric hotplates difficult to access | Engineering | Relocate switches to wall left of hotplates | Moderate | 2/05/2014 | 1/08/2014 | 31/07/2015 |  |